***Sub Engineer***

1. The 10 mm markings on a levelling staff placed at 20 m are separated by

a.  11000radian

b.  11500radian

c.  12000radian

d.  12500radian.

2. Straight, parallel and widely spaced contours represent

a. a steep surface

b. a flat surface

c. an inclined plane surface

d. curved surface.

3. In a perfect prismatic compass

a. ends of the needle and pivot are in same vertical and horizontal planes

b. pivot is vertically over the centre of the graduated circle

c. needle is always kept sensitive

d. all the above.

4. Pick up the correct statement from the following :

a. the eyepiece plays no part in defining the line of sight

b. the diaphragm plays no part in defining the line of sight

c. the optical centre of the objective plays no part in defining the line of sight

d. none of these.

5. The operation of removal of impurities or clay adhering to iron ores, is known as

a. dressing

b. calcination

c. roasting

d. smelting.

6. Asbestos is

a. an incombustible fire proof material

b. an organic substance

c. a bad insulator for sound and heat

d. all the above.

7. For a 50 kg cement bag water required, is

a. 18.5 litres

b. 20.5 litres

c. 22.5 litres

d. 25 litres.

8. Plywood is normally available

a. 1 mm thick

b. 2 mm thick

c. 2 to 3 mm thick

d. 3 mm to 4 mm thick.

9. Maximum strain theory for the failure of a material at the elastic limit, is known as

a. St. Venant's theory

b. Rankine's theory

c. Haig's theory

d. Von Mises's theory.

10. The strain energy stored in a spring when subjected to greatest load without being permanently distorted, is called

a. stiffness

b. proof resilience

c. proof stress

d. proof load.

11. Pick up the incorrect statement

a. A welded joint develops strength of its parent metal

b. Welded joints provide rigidity

c. Welded joints have better finish

d. Welding takes more time than riveting.

12. When equal and opposite forces applied to a body, tend to elongate it, the stress so produced, is called

a. shear stress

b. compressive stress

c. tensile stress

d. transverse stress.

13. The width of a weir with end contraction, is

a. equal to the width of the channel

b. less than the width of the channel

c. half the width of the channel

d. none of these.

14. In an inclined position, a venturimeter records

a. more reading

b. less reading

c. same reading

d. none of these.

15. The instrument used for measuring the velocity of flow, is known as

a. venturimeter

b. orifice meter

c. pitot tube

d. none of these.

16. If the forces are due to inertia and gravity, and frictional resistance plays only a minor role, the design of the channels is made by comparing

a. Reynold number

b. Froude number

c. Weber number

d. Mach number.

17. If the specific gravity of a soil particle of 0.05 cm diameter is 2.67, its terminal velocity while settling in distilled water of viscosity, 0.01 poise, is

a. 0.2225 cm/sec

b. 0.2250 cm/sec

c. 0.2275 cm/sec

d. 0.2300 cm/sec

18. Cohesionless soil is

a. sand

b. silt

c. clay

d. clay and silt.

19. Pick up the correct statement from the following:

a. A soil classification system is meant to provide an accepted and systematic method of describing the various types of soils eliminating personal factors

b. The first category of soil classification is based on grain size of the soil

c. The second category of soil classification is based on fine as well as coarse grains

d. All the above.

20. A pycnometer is used to determine

a. voids ratio

b. dry density

c. water content

d. density index.

21. If the maximum shear stress at the end of a simply supported R.C.C. beam of 6 m effective span is 10 kg/cm2, the share stirrups are provided for a distance x from either end where x is

a. 50 cm

b. 100 cm

c. 150 cm

d. 200 cm

22. The angle of repose of a soil is the maximum angle which the outer face of the soil mass makes

a. with the horizontal

b. with the vertical

c. with the perpendicular to. the inclined plane of the soil

d. none of these.

23. The neutral axis of a T-beam exists

a. within the flange

b. at the bottom edge of the slab

c. below the slab

d. all the above.

24. An R.C.C. column of 30 cm diameter is reinforced with 6 bars 12 mm φ placed symmetrically along the circumference. If it carries a load of 40,000 kg axially, the stress is

a. 49.9 kg/cm2

b. 100 kg/cm2

c. 250 kg/cm2

d. 175 kg/cm2

25. Safe bearing capacity of black cotton soil varies from

a. 2 to 3 t/m2

b. 5 to 7.5 t/m2

c. 8 to 10 t/m2

d. 10 to 12 t/m2.

26. Which one of the following activities is not correct as applicable to brick corbels

a. the maximum projection of the corbel should not be more than the thickness of the wall

b. the maximum projection of each corbel course should be limited to a quarter brick at a time

c. the discontinuous corbels are used to carry heavy concentrated loads

d. stretcher bond is generally used for the construction of brick corbel.

27. Pick up the correct statement from the following:

a. Sand obtained from flooded pits, need not be washed before use

b. Sea shore sand contains chlorides which cause effloresance

c. The chloride in sea shore sand and shingle may cause corrosion of reinforcement if the concrete is porous

d. All the above.

28. The shuttering of a hall measuring 4 m x 5 m, can be removed after

a. 7 days

b. 10 days

c. 14 days

d. 21 days

29. Efficiency of removing bacterias from raw water by a slow sand filter, is

a. 80% to 81%

b. 85% to 86%

c. 90% to 97%

d. 98% to 99%.

30. Time of concentration

a. is the time taken, for precipitation

b. duration of rainfall.

c. time taken for all the ran off to reach the drain

d. time taken for the storm water to travel from the most remote point to the drain.

31. Faculative bacterias survive in

a. the presence of oxygen

b. the absence of oxygen

c. both cases (a) and (b)

d. neither (a) nor (b).

32. In detritus tanks,

a. flow velocity is kept 0.09 m/sec

b. detention period is kept 3 to 4 minutes

c. organic and inorganic materials are separated

d. all the above.

33. A fall in a canal bed is generally provided, if

a. ground slope exceeds the designed bed slope

b. designed bed slope exceeds the ground slope

c. ground slope is practically the same as the designed bed slope

d. none of these.

34. Meandering of a river generally occurs, in

a. rocky stage

b. delta stage

c. boulder stage

d. trough stage.

35. The structure constructed to allow drainage water to flow under pressure through an inverted syphon below a canal, is called

a. super passage

b. aqueduct

c. super-aqueduct

d. syphon aqueduct.

36. The velocity of drainage water in the barrels of a syphon-aqueduct, is normally limited to

a. 1 to 2 m per second

b. 2 to 3 m per second

c. 3 to 4 m per second

d. 4 to 5 m per second.

37. Minimum radius of curvature of National Highways or State highways in hill region free from snow, is kept

a. 50 m

b. 33 m

c. 30 m

d. 25 m

38. Curves in the same direction separated by short tangents, are called

a. compound curves

b. transition curves

c. broken-back curves.

d. None of these.

39. Pick up the correct statement from the following:

a. Detailed survey is carried out for a strip of land about 30 m at sharp curves

b. Levels are taken along the trace cut at an interval of 20 m

c. Contour interval is generally adopted at 2 metres vertical interval

d. All the above.

40. During last phase of the reconnaissance, details of the grade line is recorded on 2 metre poles to indicate

a. direction of the proposed alignment

b. distance between the previous and forward pegs

c. relative elevations of pegs

d. all the above.

41. According to Indian Standards Institute, the actual size of modular bricks is

a. 23 cm x 11.5 cm x 7.5 cm

b. 25 cm x 13 cm x 7.5 cm

c. 19 cm x 9 cm x 9 cm

d. 20 cm x 10 cm x 10 cm

42. The correct prismoidal formula for volume is

a. D [first area + last area + ∑ Even area + 2 ∑ odd areas]

b.  [first area + last area + 4 ∑ Even area + 2 ∑ odd areas]

c.  [first area + last area + 2 ∑ Even area + 4 ∑ odd areas]

d.  [first area + last area + 2 ∑ Even area + 4 ∑ odd areas].

43. The floor area includes the area of the balcony up to

a. 100%

b. 75%

c. 50%

d. 25%

44. The total length of a cranked bar through a distance (d) at 45° in case of a beam of effective length L, is

a. L + 0.42 d

b. L + 2 x 0.42 d

c. L - 0.42 d

d. L - 2 x 0.4 d

45. Modular co-ordination of construction means proper

a. planning

b. designing

c. execution

d. all the above.

46. The final selection of a construction site, is done by

a. local civil authority representative

b. representative of engineer authority

c. representative of administration

d. all the above.

47. Pick up the correct statement from the following:

a. PERT analysis is event oriented

b. CPM does not make any allowance for the uncertainties in the duration of time

c. In CPM, the time is related to cost

d. All the above.

48. The Overall in-charge of an organisation at the site responsible for the execution of the works, is

a. Engineer

b. Junior Engineer

c. Sub overseer

d. Assistant Engineer.

49. Pick up the correct statement from the following:

a. The speed of the aircraft relative to the ground, is called cruising speed

b. The speed of the aircraft relative to wind, is called air speed

c. When wind is blowing the direction of the flight, air speed is less than cruising speed

d. All the above.

50. The strength of winds is measured with the help of

a. Benfort scale

b. Wind indicator

c. Barometres

d. None of these.